Jobsite Stock Recount — Word Parts Catalog Fixture

Layout tabbed-counter-export; verify supplier/category/duplicates before import.

Code	Name	Brand	Category	Unit	Qty	Cost

F-42-001	EMT Set-Screw Connector #7	Bridgeport	Fittings	ea	43	2.06

B-42-002	40A 1-pole QO Plug-On Breaker	Square D	Breakers	ea	46	21.12

B-42-003	Steel Device Box #9	Raco	Boxes	ea	1	4.72

L-42-004	LED Flat Panel #10	Lithonia	Lighting	ea	4	48.60

D-42-005	Decorator Receptacle #11	Leviton	Devices	ea	7	3.49

F-42-006	Strut Strap #12	Minerallac	Fasteners	ea	10	0.71

W-42-007	8 AWG THHN Copper Wire 250 ft spool	Southwire	Wire	ft	13	0.22

C-42-008	2 in EMT Conduit 10 ft	Allied Tube	Conduit	stick	16	8.78

F-42-009	EMT Set-Screw Connector #3	Bridgeport	Fittings	ea	19	1.95

B-42-010	20A 1-pole QO Plug-On Breaker	Square D	Breakers	ea	22	20.08

B-42-011	Steel Device Box #5	Raco	Boxes	ea	25	4.50

L-42-012	LED Flat Panel #6	Lithonia	Lighting	ea	28	77.76

D-42-013	Decorator Receptacle #7	Leviton	Devices	ea	31	3.25

F-42-014	Strut Strap #8	Minerallac	Fasteners	ea	34	0.67

W-42-015	12 AWG THHN Copper Wire 250 ft spool	Southwire	Wire	ft	37	0.21

C-42-016	1 in EMT Conduit 10 ft	Allied Tube	Conduit	stick	40	8.27

F-42-017	EMT Set-Screw Connector #11	Bridgeport	Fittings	ea	43	1.85

B-42-018	50A 1-pole QO Plug-On Breaker	Square D	Breakers	ea	46	19.04

B-42-019	Steel Device Box #1	Raco	Boxes	ea	1	4.28

L-42-020	LED Flat Panel #2	Lithonia	Lighting	ea	4	74.11

D-42-021	Decorator Receptacle #3	Leviton	Devices	ea	7	5.20

F-42-022	Strut Strap #4	Minerallac	Fasteners	ea	10	0.62

W-42-023	6 AWG THHN Copper Wire 250 ft spool	Southwire	Wire	ft	13	0.19

C-42-024	1/2 in EMT Conduit 10 ft	Allied Tube	Conduit	stick	16	7.76

F-42-025	EMT Set-Screw Connector #7	Bridgeport	Fittings	ea	19	1.74

B-42-026	30A 1-pole QO Plug-On Breaker	Square D	Breakers	ea	22	18.00

B-42-027	Steel Device Box #9	Raco	Boxes	ea	25	4.06

L-42-028	LED Flat Panel #10	Lithonia	Lighting	ea	28	70.47

D-42-029	Decorator Receptacle #11	Leviton	Devices	ea	31	4.96

F-42-030	Strut Strap #12	Minerallac	Fasteners	ea	34	0.99

W-42-031	10 AWG THHN Copper Wire 250 ft spool	Southwire	Wire	ft	37	0.18

C-42-032	1-1/4 in EMT Conduit 10 ft	Allied Tube	Conduit	stick	40	7.26

F-42-033	EMT Set-Screw Connector #3	Bridgeport	Fittings	ea	43	1.63

B-42-034	15A 1-pole QO Plug-On Breaker	Square D	Breakers	ea	46	16.97

B-42-035	Steel Device Box #5	Raco	Boxes	ea	1	3.84